## Slide 1
BIOMEDICAL ENGINEERING • THIRD YEAR PROJECT
Embedded Respiratory Pattern
Monitoring and Early
Warning System
A smart, portable embedded system that continuously tracks breathing patterns and raises instant alerts for early clinical intervention.
Presented by: DHIVYA RANJANI P, RAMYA M Department: Biomedical Engineering College: VSB ENGINEERING COLLEGE ,KARUR

## Slide 2
Introduction
PROJECT OVERVIEW
What is Respiratory Monitoring?
Continuous tracking of breathing rate, depth and rhythm to detect abnormal respiratory patterns in real time.
Why Continuous Monitoring?
Respiratory diseases like asthma, COPD and sleep apnea can worsen suddenly, making constant tracking essential for safety.
Role of Embedded Systems
Compact microcontrollers enable low-cost, low-power, real-time biomedical devices outside traditional hospital settings.
Why Early Warning Matters
Instant alerts to doctors or caregivers allow timely intervention, preventing emergencies before they escalate.
02 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 3
Abstract
PROJECT SUMMARY
Objective
Design a compact, wearable embedded system that continuously senses respiration and flags abnormal patterns before they become critical.
Working Principle
A respiratory sensor captures chest movement signals, which an embedded controller digitizes, filters and analyzes against trained breathing-pattern thresholds in real time.
Expected Outcome
A portable, affordable monitor that delivers instant visual, audible and wireless alerts to caregivers — enabling faster clinical response than conventional monitors.
System Flow
Patient
Respiratory Sensor
Embedded Controller
(ESP32 / Arduino)
Signal Processing
Respiratory Pattern
Analysis
Early Warning Alert
Doctor / Caregiver
03 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 5
Problem Statement
WHY THIS PROJECT
Increasing Respiratory Diseases
Rising asthma, COPD and sleep-related disorders demand scalable monitoring.
Expensive Monitoring Equipment
ICU-grade monitors are costly, limiting access for most patients.
Lack of Portable Monitoring
Existing devices are bulky and confined to hospital settings.
Delayed Emergency Detection
Manual observation leads to slow response during sudden distress.
Need for Affordable Embedded Systems
A low-cost, real-time solution is essential for wider healthcare reach.
04 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 6
Existing Model
CURRENT CLINICAL APPROACH
Today, respiratory monitoring relies on ICU respiratory monitors, ventilator monitoring systems and pulse oximeters — all operated within hospital infrastructure.
ICU Respiratory Monitors
Bedside units tracking rate and rhythm continuously.
Ventilator Monitoring Systems
Integrated with life-support machines in critical care.
Pulse Oximeters
Clip-on sensors estimating oxygen saturation and pulse.
Existing System — Block Diagram
Patient
Respiratory Sensor
Signal Conditioning
Hospital Monitor
Medical Staff
Signals are captured at the bedside, conditioned, and displayed on hospital monitors for continuous manual review by medical staff.
05 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 7
Drawbacks of Existing Systems
LIMITATIONS
High Cost
Large Equipment
Hospital Dependent
Not Portable
High Maintenance
Delayed Emergency Alert
No Remote Monitoring
06 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 8
How We Overcome the Drawbacks
EXISTING vs PROPOSED
EXISTING SYSTEM
PROPOSED EMBEDDED SYSTEM
Expensive
Low Cost
Hospital Only
Home + Hospital
Manual Monitoring
Automatic Monitoring
No Remote Access
Wireless Monitoring
Delayed Alert
Instant Alert
Bulky Device
Portable Device
07 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 9
Proposed System
EMBEDDED ARCHITECTURE
1
Patient
2
Respiratory Sensor
3
Signal Conditioning
4
ESP32 / Arduino Nano
5
Respiratory Pattern
Detection Algorithm
6
LCD Display
7
Buzzer
8
Wi-Fi / Bluetooth
9
Doctor Mobile Application
08 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 10
Where We Are Using
DEPLOYMENT SETTINGS
Hospitals
ICU
Ambulance
Home Healthcare
Rural Healthcare
Rehabilitation Centers
Elderly Care
Sleep Monitoring
09 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 11
Who Is Beneficial
STAKEHOLDERS
Asthma Patients
COPD Patients
Elderly People
Infants
Sleep Apnea Patients
Post-operative Patients
Doctors
Nurses
Caregivers
10 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 12
Advantages & Applications
IMPACT
Advantages
Low Cost
Portable
Lightweight
Accurate
Continuous Monitoring
Real-Time Alert
Low Power Consumption
Easy to Use
Early Warning System
Applications
Smart Hospitals
Telemedicine
IoT Healthcare
Wearable Medical Devices
Emergency Medical Services
Home Healthcare
Military Healthcare
Remote Patient Monitoring
11 / 12
ERPM-EWS | BIOMEDICAL ENGINEERING

## Slide 13
THANK YOU
Embedded Respiratory Pattern Monitoring and Early Warning System
Questions & Discussion Welcome